American Petroleum Institute

Subcommittee on Aboveground Storage Tanks

# SCAST Joint Meeting Minutes

Rev 0

8:00 a.m. - 12:00 p.m. (Central)		Dallas, TX

Wednesday, November 20, 2024

Todd McClellan, Chair

Ingrid Pederson, Vice Chair

Nick Montebello, API

1.	ADMINISTRATIVE

- Anti-Trust Reminders	Nick Montebello

- Attendance	Todd McClellan

Total attendance ~ 87 (head count)

- Approval of the Agenda	Todd McClellan

Approved

- Approval of Prior Meeting Minutes	Todd McClellan

Approved

- Announcements	Todd McClellan

Todd announcing this is his last meeting as chair, all the subcommittee leadership roles are 6-year commitments, 3 years as vice-chair and 3 years as chair. Ingrid will be taking over the role of chair after this meeting.

API’s MyCommittees SharePoint site: if you’re not on a roster you think you should be let Nick/Ingrid know, also if you see people that have retired, left the industry, etc. then also let Nick/Ingrid know so we can maintain the rosters.

- Updates from WGSCC, CRE, & PCC	Todd McClellan

  - Work Group for Subcommittee Coordination (WGSCC)

API Training website – API can produce training if we think we need new training content, contact Nick

  - CRE Chairs Workshop

56 meetings on Monday in 20 conference rooms, logistical nightmare. Of the ~12 committees, SCAST had 15 of 56 meetings on Monday, API is requesting subcommittee to move some meetings from Monday to later in the week (e.g., Wednesday). SCAST will likely need to move the joint meeting to Wednesday afternoon to make room for other meetings Wednesday morning.

  - Project Coordinating Committee (PCC)

SR3 or SRQ form are used to obtain the resources to do our work. Only SR3 submitted was 2510 to open it up for review. The last edition of 2510 was published in 2020.

- Report on API Publications and Status of Standards	Nick Montebello

- Maintenance of Standards 	Ivan Pinto

Ivan presenting on procedure for standards development – clarification and other updates. We need to meet the ANSI requirements to retain our certification. See Ivan’s presentation.

Group discussion on the wind design being too conservative, so SCAST pulled the ballot out of API 650 before it got published, wind loading task group is now working on this to get everything into alignment, including significant research on where this content came from and the basis for the formulas. Phil Myers has conducted considerable research regarding 650-1074 with lots of support from task group members.

2. 	SUBGROUP REPORTS (e.g., Inquiries, Agenda Items, New and Working Items, etc.)

- Subgroup Design	Ken Erdmann

56 in attendance, perhaps the largest group we’ve ever had notes Ken.

Ken notes we’re going away from specific paragraph references in other standards as these can change, making them more generic

OSHA tank spiral stairs response to a question on their website, Ken notes he’s talked to OSHA and they want to participate in a task group. Ken soliciting names for anyone who wants to participate in the task group.

See Ken’s report

- Subgroup Fabrication	Doug Miller

Edward discussed his  repad spacing on tanks going through a few revisions.

Formal ballot to kick Annex G over to API 575 (SCIMI hasn’t passed their ballot on acceptance yet).

Leacil has learned over the last 2.5 years of dealing with 650-2066 that you don’t try to increase the scope.

Daniel Fleck is going to check the SGD ballot to make sure he’s not conflicting with it on his 650-2076 ballot.

See Doug’s report

3.  TASK GROUP REPORTS

- Refrigerated Tank Task Group (RTTG)	Rama Challa

46 in attendance, 12 owner/operators

See Andrew’s report

- API 626 – Inspection and Assessment of Refrigerated and Cryogenic Tanks	Andrew Yearwood

New recommended practice, Andrew reporting that Wes Pudwill is his vice-chair

These tanks are more complicated than the typical ASTs. Need to tie into API 579 (fitness for service). Also need to broaden outreach to other industry groups. Let Andrew know if you want to participate.

See Andrew’s report

- API 652 – Lining of Tank Bottoms	Dave Cushman

Dave glad he doesn’t have to deal with the member/visitor problem any longer. 36 total, 24 owner/operators.

See Dave’s report

API 655 – Vapor Corrosion Inhibitors	Ingrid Pederson

See Ingrid’s report

- API 12D – Field Welded Tanks for Production Liquids	Mark Baker

See Mark’s report

- API 12F – Shop Welded Tanks for Production Liquids	John Slupsky

John notes this should be the last meeting for a few years as 12F has gone to publication.

See John’s report

- API 12P – Fiberglass Reinforced Plastic Tanks	John Slupsky

Officially opened it up, went through 12P to check the structure matched up with the other 12 series documents. Now starting research to determine if we can take the tank design pressure up to 2.5 psi, perhaps up to 5 psi economically.

See John’s report

API 12R1 – Maintenance of Tanks in Production Service	John Slupsky

After a major rewrite to get the document up to date Dave spent a lot of time going through the document line by line and Marilyn has been instrumental in fixing the numbering. John motioned to send 12R1 to recirculation ballot (motion approved).

See John’s report

- API 2350 – Overfill Prevention for Storage Tanks in Petroleum Service	Earl Crochet

Earl motioned to send 2350 to reaffirmation ballot (group approved).

See Earl’s report

- API 2510 – Design and Construction of LPG Installations	TBD

- API 2610 – Terminal and Tank Facilities	Amy Baxter / Andrew Yearwood

Andrew reported 18 owners in attendance, 37 total. Focused on section 6, safe operations new material. CSB recommendations were incorporated into the document.

See Andrew’s report

4.	OUTSIDE REPORTS

- ICP Updates	Andri Orphanides

Andri notes there are cookies at the IPC meeting across the hall starting at 10:00

See Andri’s report

Homework for SCAST members – Andri spoke to SCAST about sunsetting the API tank entry supervisor (TES) program. Take this back to your companies and discuss – does this bring value to the industry? Does your company use TES certified individuals? Andri will ask the group about this in the next joint meeting.

Todd noted at the owner/operator meeting only one company uses the TES certified individuals. Ken notes the manufacturers meeting had a similar response. Phil notes there was an incident in Japan recently where there were 3-4 fatalities. What happens to people with existing credentials. Do people really know the hazards? Tank cleaning and confined space entry is deadly and dangerous.

- Tank Standards Coordinator (ASTM, UL, NFPA)	Phil Myers

See Phil’s report

- STI/SFPA Update 	Joe Mentzer

See Joe’s report

- API Inspection & Mechanical Integrity Summit	Rafael Rengifo

Call for presentations will come in summer, 2025. Refaul is chair of midstream sector. Amy Baxter and Earl are working on the tank track which continues to grow. This year we’re putting some structure on review process, adding software for submission process. Let Amy and Earl know if you want to participate in abstract reviews (looking for 5 reviewers per abstract)

- API Tank Conference	Earl Crochet/Dave Cushman

The conference that never was. Officially API didn’t cancel the October 2024 conference, they postponed it to Arizona in October 2025. Anybody that submitted a paper in 2024 gets first dibs on presenting in 2025. We were going to do a ½ day refrigerated tank workshop at the 2024 conference. If there is enough interest we can do the workshop in 2025.

5.	OPEN DISCUSSION

6.	ADJOURNMENT